## data
Date(mm/dd/yyyy) | Subject_ID | run1_bad_channels | run2_bad_channels | run3_bad_channels | naturalistic_bad_channels | rest_bad_channels | run1_notes | run2_notes | run3_notes | naturalistic_notes | resting_notes | run4_bad_channels(redo) | run4_notes(redo)
10-04-2023 | 59N82C | MEG1213 | MEG1213 | MEG1213 | MEG1213 | MEG1213 |  |  |  |  | During resting state scan, participant seems on the verge of sleep, eyes closed a lot.
10-10-2023 | WGB5JB | MEG1213, MEG 1522, MEG 2623 | MEG 1213, MEG 1522 | MEG 1213, MEG 1522 | MEG 1213, MEG 1522 | MEG 1213, MEG 1522 | power outage in morning before scan. | Heated MEG 2623 before scan; fixed issued. |  | Helium Recycler started between blocks, turned off before this block.
10-13-2023 | 8X9HBY | MEG 1522, MEG 1213 | MEG 1522, MEG 1213 | MEG 1522, MEG 1213, MEG 2122 (jumps) | MEG 1522, MEG 1213 | MEG 1522, MEG 1213 | subject wears glasses, said he could see images okay. A bit blurry. Button got stuck for 10s. | Button 2 got stuck during run.
10-17-2023 | RT2PGJ | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 |  | participant feeling tired. |  |  | microphone accidentally on; participant heard us talking during resting state scan.
10-26-2023 | AZLLGK | MEG 1213, MEG 1522 | MEG 1213, MEG 1522 | MEG 1213, MEG 1522 | MEG 1213, MEG 1522 | MEG 1213, MEG 1522 | some ECG channels visible in EOG channels
10-27-2023 | HCUZQ4 | [5 empty] | subject has eyelash extensions which are causing a large artefact when blinking
11-01-2023 | SXBT5E | MEG 1213 | MEG 1213 | MEG 1213, MEG 1511 | MEG 1213 | MEG 1213 |  |  |  |  | first 1 minute was "welcome" screen. Resting state cross appears after 1 minute.
11-07-2023 | AG8944 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213
11-14-2023 | HX8F4X | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | strong ECG signal in data
11-17-2023 | 8TMH85 | [5 empty] | ECG channel on and off, no heart artefact in raw data so should be okay. |  |  |  | subject move jaw and face a lot.
11-21-2023 | HS76SM | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | right hand for button pad
11-29-2023 | QKR7UR | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 |  | started recording slightly after starting stimulus
12-12-2023 | A388CU | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141, MEG 1711 | ECG003 = horizontal, EOG001 = vertical EOG, EOG002 = ECG |  |  | adjusted bipolar electrodes between runs for better signal
12-15-2023 | TCNM89 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213
12-18-2023 | extTVFMU4 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213
01-03-2024 | NR4D56
01-04-2024 | LHFW66 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213
01-09-2024 | KHEDCY | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | heart artefact on EOG 001
01-26-2024 | RZWJ7 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141
01-31-2024 | DEDNDJ |  |  |  | MEG 2122, MEG 2123 | MEG 2122, MEG 2123
02-05-2024 | extU2M7EY | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 |  |  | participant adjusted their head 4:15 into recording. Participant slid down chair during recording.
02-09-2024 | XULCX9 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213 | MEG 1213
02-15-2024 | VHF5LJ | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
02-16-2024 | YAPAPT | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
02-21-2024 | 9J2B9V | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 |  |  |  |  | subject tapping fingers
02-23-2024 | J2WZ7A | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | had to restart because ECG and EOG plugged into wrong bio channels |  |  |  | participant was looking around a lot throughout recording.
02-26-2024 | HDVLMJ | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
03-01-2024 | A7BF4V | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
03-05-2024 | SXNKDN | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 |  |  |  |  | earbuds uncomforable; took them out for resting state run.
03-07-2024 | J2GEED | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
03-14-2024 | 49D4JB | [5 empty] | participant needs minor correction in left eye (-1.75). Tried MEG compatible lenses, but participant said it made vision worse, so wwe ran the experiment without vision correction. |  | adjusted participant in chair before this block.
03-15-2024 | GZFAWR | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | heart artefact on magnetometers - use ICA
03-18-2024 | PAWEZ5 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
03-26-2024 | 45TDGV | MEG 1141, MEG 0532 | MEG 1141, MEG 0532 | MEG 1141, MEG 0532 | MEG 1141, MEG 0532 | MEG 1141, MEG 0532
03-27-2024 | GVYFG2 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | saw noise on magnetometers. No saturation; should be okay.
04-04-2024 | 5WXBTL | MEG 2633 | MEG 2633 | MEG 2633 | MEG 2633 | MEG 2633
04-05-2024 | AS978K | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | participant earphone came out during block. Will replace before naturalistic block. |  |  | replaced earphones before starting this block, which included lowering and raising participant in MEG.
04-08-2024 | UGHYY9 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | participant fell asleep at end of block. | participant fell asleep during block, missed several trials. | participant fell asleep during block, missed many trials. |  |  | MEG 2122 | extra block to make up for missed trials due to falling asleep. Participant fell asleep a few times, missed some trials.
04-09-2024 | 3V2AAK | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | no heart artifact.
04-15-2024 | GHLDMF | MEG 2623, MEG 2122 | MEG 2623, MEG 2122 | MEG 2623, MEG 2122 | MEG 2623, MEG 2122 | MEG 2623, MEG 2122
04-18-2024 | ZFQWV7 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | had to restart because parallel port not connected to stimlus computer so we were getting no stimulus triggers.
04-19-2024 | WXY728 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141
04-23-2024 | 54KWW6 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | subject can only hear sounds in right ear during test.
04-24-2024 | V9V8F6 | MEG 1141, MEG 2122 | MEG 1141, MEG 2122 | MEG 1141, MEG 2122 | MEG 1141, MEG 2122 | MEG 1141, MEG 2122 | trouble keeping ear buds in; removed them before movie block. |  |  | no sound in right ear.
05-02-2024 | 9ZSUKT | MEG 1511 | MEG 1511 | MEG 1511 | MEG 1511 | MEG 1511 |  |  | participant fell alseep around 3:30 into recording. Spoke over intercom to wake them and remind them to stay on task.
05-03-2024 | L846DP | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | consistent artefact on EOG channels; can see slightly on ECG.
05-06-2024 | LMNH8K | MEG 2122, MEG 0231 | MEG 2122, MEG 0231 | MEG 2122, MEG 0231 | MEG 2122, MEG 0231 | MEG 2122, MEG 0231 | one head coil fell off before scan. Looks like participant might clench jaw.. Participant used both hands for button box. | subject moved around quite a bit. | participant held down button 4 at beginning of scan. Participant used one finger to press response buttons.
05-07-2024 | 79BRLF | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | cross-talk in EOG/ECG channels. Some coughing during runs.
05-09-2024 | FYE33Z | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122, MEG 0112
05-10-2024 | KX3NVJ | MEG 1141, MEG 2122 | MEG 1141, MEG 2122 | MEG 1141, MEG 2122 | MEG 1141, MEG 2122 | MEG 1141, MEG 2122
05-27-2024 | W87LJY | MEG 1511 | MEG 1511 | MEG 1511 | MEG 1511 | MEG 1511
05-31-2024 | G6H3NQ | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141 | MEG 1141
06-03-2024 | QVDAP2 | MEG 1542 | MEG 1542 | MEG 1542 | MEG 1542 | MEG 1542
06-06-2024 | 3KHMXV | [5 empty] | some areas not covered on digi(tization) due to hair style. Should be good enough coverage.
06-07-2024 | FW9GP | [9 empty] | participant was very sleepy.
06-11-2024 | V9HDQM | [5 empty] | artefact in bipolar channels. Slower freq. should be ok for ICA.
06-12-2024 | 9E5YN3 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
06-12-2024 | 3VKQNW | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
06-13-2024 | EQMWG7 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
06-14-2024 | XJB3T2
06-17-2024 | FX3GGH | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | restarted after a few trials, because EOG electrode came loose. | gave participant blanket because arms were getting cold. Breathing artefact appears to be in ECG. | breathing artifact appears to be in ECG. | replaced ECG elctrode before scan.
06-18-2024 | 4ESU5W | MEG 0532 | MEG 0532 |  |  |  | added ground to bipolar setup - no artefact on ECG channel.
06-21-2024 | EBYXXF | MEG 1711 |  |  |  |  | ground for bipolar cns - no artifact in bios.
06-28-2024 | SBVR2Y
07-02-2024 | K83Z5S
07-03-2024 | XUAWB8 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
07-04-2024 | 9BAJK3 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 |  | seemed participant was clenching jaw during scan.
07-05-2024 | CBFYGF
07-05-2024 | YAY7MU | MEG 2122 | MEG 2122
07-08-2024 | DTWDFD | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | participant could not fit in helmet with MEG-compatible eyeglasses on, so they were taped to helmet a little away from face.
07-22-2024 | NTDU8N | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | one string appears far from head surface, should be deleted (for digitization of strings for head points). Had to restart session 1 because parallel port was unplugged so we were not getting triggers.
07-23-2024 | Q5UG4U | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 |  | stimulus presentation started a few trials before recording started.
07-24-2024 | extMCJQKQ
07-25-2024 | US5GA6 |  | MEG 2122
07-26-2024 | KETDQV
07-29-2024 | QSXJ4V | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
07-31-2024 | 88FLB2 | [5 empty] | subject has metallic gems on nails, causes some interference but channels not saturated - should be ok after tSSS. |  | subject very sleepy during run - "fighting to stay awake" |  | falling alseep towards end.
08-02-2024 | extRTPD9A | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122
08-06-2024 | ext6ADJ3D | [5 empty] | button press at same time as trigger in first 5 seconds. Some facial muscle movements (eyes). |  | some facial muscle movements.
08-07-2024 | ET2PJN | MEG 2122 (square artefact wave) | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 |  | a lot of blinking (subject tired)
08-08-2024 | HB57WT | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | participant has a head covering, should not interfere with MEG recording.
08-09-2024 | 3X47YB | [5 empty] | first minute of scanning - some noise in data for movement; participant settled after that. | strong heart artefact | 6:01 some muscle movement artefacts (participant started using left hand on button box, 1/2 way through scan.) a lot of muscle artefact - participant uncomfortable. |  | muscle activity, moving
08-12-2024 | F2ESKX | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | reset (channels) at 33secs
08-14-2024 | BMP66Z | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122 | MEG 2122

## notes
Participant UGHYY9 did an extra block (run 4) to make up for missed trials due to falling alseep, but participant fell alseep during the make up block.